Additional Requirements for Workshops, Fieldwork and Laboratories

Examples of Standards applying to Electrical Equipment

| Electrical Equipment | Example |
| --- | --- |
| Single Phase RCD protected EPOD minimum IP rating of IP 33 Minimum standard for hostile use in field work, or energised from generator (non-mains power source) |  |
| 3 Phase Plug into Single phase outlets RCD protected |  |
| 3 Phase Plug with 3 Phase outlets with RCD protection |  |
| Light Duty 240V 10A Extension Lead for non-hostile areas such as Office spaces only |  |
| 25m 240V 15A Heavy Duty lead, can also get in 10A heavy duty For workshops and fieldwork NOTE: 25M is the max length for any extension lead |  |
| Double Adaptors - NOT FOR USE anywhere on University property |  |